## BOQ-ICT
Group Development Pakistan
BOQ
| Project: | Renovation and refurbishment
Contractor Name:
Address:
Phone:
NTN:
Sr.# | Description | UOM | Qty. | Unit Rate (Rs) | Total Amount (Rs)
1 | Kitchen
i | Dismantelling/ Removal of existing wooden cabinets complete in all respect. | Nos. | 22 |  | 0
ii | Repair Work Of Cabinet's Frame complete in all respect. | SFT | 64 |  | 0
iii | Installation of New cabinet's door (MDF) | Nos. | 22 |  | 0
iv | Supply and Installation of Automatic Gas stove with two burners. Complete in all respects | Nos. | 2 |  | 0
v | Providing and fixing 12'' Sweep Exhaust Fan including plastic louvers | Nos. | 1 |  | 0
vi | P/F 1/2'' pvc conduits for wiring outside the kitchen area | Rft | 60 |  | 0
| Total |  |  |  | 0
2 | Corridor
i | MS Grill 6mm Sq.bar including double leaf door 3,-6''X7'-00'' with handles and locks etc | SFT | 70 |  | 0
ii | Supply and install 2 , 3 , 4 , 5 gang, 5 Amp, 250 Volt,. plate type moulded switch including appropriate size plastic box to be fixed recessed in wall. | Nos. | 4 |  | 0
| Total |  |  |  | 0
3 | Bath Rooms & Toilets
i | Providing and laying roof insulation comprising single layer of first class burnt brick tile 9" x 4.5" x 1.5" laid with 1:6 cements and mortar and grouted with 1:3 cement sand mortar laid over 4 inches (100 mm) thick earth and 1 inch (25mm) thick mud plaster without bhoos aover two coats of bitumen @ 34 lbs. per 100 Sq.ft. (1.65Kg/Sq.m) sand blended covered with polythene sheet 300 gauge including curing etc. complete in all respect. | SFT | 285 |  | 0
ii | Providing and laying 3/8" (9mm) thick Emco/ Master/ Stile glazed/ matt tiles of any colour and size laid over 1" (25mm) thick cement Lawrencepur sand mortar base including jointing and washing the tiles with white cement slurry/ tile bonding material of matching color by using color pigment and curing. ( Size 12" x 12" ) | SFT | 160 |  | 0
iii | Providing and laying 3/8" (9mm) thick Emco/ Master/ Stile glazed/ wall tiles of any colour and size laid over 1" (25mm) thick cement Lawrencepur sand mortar base including jointing and washing the tiles with white cement slurry/ tile bonding material of matching color by using color pigment and curing. ( Size 8" x 12" ) | SFT | 850 |  | 0
iv | Providing and fixing Flushing cistren of approved quality complete in all respect | Nos. | 4 |  | 0
v | Providing and fixing 1/2" (12 mm) dia superior quality C.P . Bib cock of approved make. | Nos. | 4 |  | 0
vi | Providing and fixing squatting type water closet with integral treads ICL Boch / Karam Cera or approved equivalen tmake including cost of inlet pipe cistern and lid cistern kit, stop cock deluxe type and other accessories, fittings, brackets, PVC down pipe, rubber rings / washers, making requisite number of holes in walls, plinth and floor for pipe connection and making good with approved material. a) W.C. Indian / Desi / 902 with glazed earthen ware 4" (100 mm) trap i) White | Nos. | 1 |  | 0
vii | Shower Mixture For Bath Rooms as per approved quality complete in all respect. | Nos. | 3 |  | 0
viii | Providing and fixing export quality white wash basin 24" (610 mm) Futura with pedestal glazed earthen ware wash basin manufactured by ICL Boch/Karam Cera or equivalent approved make with single hole chromium plated mixer tap 1/2" (15mm), pillar tap one way delux, stop cocks, C.I. or W.I. brackets 6" (150mm) built into walls 1.5" (40mm) C.P. brass waste with malleable iron or C.P. brass trap with malleable iron or brass union and making requisite number of holes in walls, plinth and floor for pipe connections and making good with approved material. | Nos. | 2 |  | 0
ix | Providing and fixing Instant Geysers capacity 6 liter manufacture by nasgas or approved quality complete in all respect | Nos. | 2 |  | 0
x | Supply and install 2 , 3 , 4 , 5 gang, 5 Amp, 250 Volt,. plate type moulded switch including appropriate size plastic box to be fixed recessed in wall. | Nos. | 1 |  | 0
xi | Light circuit concealed/open wiring with length up to 65ft. (20m) from distribution board to point/switch with 3x2.5 Sq.mm PVC insulated single core copper conductor cables for offices/multistoried buildings. a) Concealed wiring with3/4"(20mm) dia. PVC conduit and accessories such as bends, elbows, junction boxes etc. | Rft | 120 |  | 0
xii | Supply and install 10" (250 mm) sweep exhaust fan including plastic louvers. | Nos. | 1 |  | 0
xiii | 1/2 inch (13mm) thick cement plaster using Lawrencepur sand on walls , plinth and ground floor including making edges, corners and curing. (Ratio 1 : 3) | SFT | 410 |  | 0
| Total |  |  |  | 0
4 | Proposed New Bath Rooms & Toilets (Optional)
i | Construction of new toilet block including 3 toilets and 2 bathrooms, Size 4'x5' and wash area(260 sft covered area approx) each including all accessories and fitting, complete in all respect. As per drawing | job | 1 |  | 0
| Total |  |  |  | 0
5 | Guard Room on Entrance
i | Providing and laying roof insulation comprising single layer of first class burnt brick tile 9" x 4.5" x 1.5" laid with 1:6 cements and mortar and grouted with 1:3 cement sand mortar laid over 4 inches (100 mm) thick earth and 1 inch (25mm) thick mud plaster without bhoos aover two coats of hotbitumen @ 34 lbs. per 100 Sq.ft. (1.65Kg/Sq.m) sand blended covered with polythene sheet 300 gauge including curing etc. complete in all respect. | SFT | 140 |  | 0
ii | Bracket Fan | Nos. | 2 |  | 0
iii | Paint Work Internal & External Side | Sft | 600 |  | 0
iv | Providing and fixing Fiber shade (semi circular) for Guard Room (Open Area) 55 Sft | Nos. | 1 |  | 0
v | Light circuit concealed/open wiring with length up to 65ft. (20m) from distribution board to point/switch with 3x2.5 Sq.mm PVC insulated single core copper conductor cables for offices/multistoried buildings. a) Concealed wiring with3/4"(20mm) dia. PVC conduit and accessories such as bends, elbows, junction boxes etc. (7.029) | Rft | 35 |  | 0
vi | Supply and install 2 , 3 , 4 , 5 gang, 5 Amp, 250 Volt,. plate type moulded switch including appropriate size plastic box to be fixed recessed in wall. | Nos. | 2 |  | 0
| Total |  |  |  | 0
6 | Container Rooms
i | Applying weather resistant paint coating such as ICI weather shield, Berger weather coat or equivalent to interior or exterior walls or ceiling including supplying all labour, materials, scaffoldings and removal of debris etc. | SFT | 480 |  | 0
ii | Supplying Revolving chairs | Nos. | 12 |  | 0
iii | Applying emulsion paint such as ICI, Berger or equivalent to interior or walls or ceiling including supplying all labour, materials, scaffoldings and removal of debris etc. | Sft | 975 |  | 0
iv | Replacement of 2 Nos damaged sheets complete in all respect. | Sft | 30 |  | 0
v | Office Table with side rack and drawers ( 5'x3') | Nos. | 4 |  | 0
vi | Providing and fixing metalic name plates with all accessories | Nos. | 5 |  | 0
vii | Replacement of Door lock complete in all respect. | Nos. | 1 |  | 0
viii | P/F Power Plug for A/C | Nos. | 1 |  | 0
| Total |  |  |  | 0
7 | Play Area
i | Floor Sheet For Children Playing Area | SFT | 150 |  | 0
ii | Supply and install 2 , 3 , 4 , 5 gang, 5 Amp, 250 Volt,. plate type moulded switch including appropriate size plastic box to be fixed recessed in wall. | Nos. | 3 |  | 0
iii | Light circuit concealed/open wiring with length up to 65ft. (20m) from distribution board to point/switch with 3x2.5 Sq.mm PVC insulated single core copper conductor cables for offices/multistoried buildings. a) Concealed wiring with3/4"(20mm) dia. PVC conduit and accessories such as bends, elbows, junction boxes etc. (7.029) | Rft | 220 |  | 0
iv | Wiring of 7/052 PVC insulated two core copper conductor cable including 3/4" (20mm) dia. PVC conduit, conductor and wiring accessories such as bends, elbows, junction boxes etc. (7.052) for AC | Rft | 100 |  | 0
v | Supply and install 56" (1.42 m) sweep ceiling fan with fan hook and dimmer complete with all accessories. | Nos. | 2 |  | 0
v | washroom, accessories, wash basin, flush tank, mirror, towel rail, soap dish, toilet paper holder, etc. for | Nos. | 1 |  | 0
vi | Dismantling of Partition Work complete in all respect | Sft | 130 |  | 0
vii | Re-installation of Partition Work | Sft | 130 |  | 0
viii | Seesaw 8' long with fitting | Nos. | 1 |  | 0
ix | Slide 8' long with fitting | Nos. | 1 |  | 0
x | Ceiling Fans ( Copper, 56'' white) | Nos. | 1 |  | 0
| Total |  |  |  | 0
8 | Conference Room
i | Supply and install 2 , 3 , 4 , 5 gang, 5 Amp, 250 Volt,. plate type moulded switch including appropriate size plastic box to be fixed recessed in wall. | Nos. | 2 |  | 0
ii | Wiring of 7/052 PVC insulated two core copper conductor cable including 3/4" (20mm) dia. PVC conduit, conductor and wiring accessories such as bends, elbows, junction boxes etc. (7.052) for AC | Rft | 80 |  | 0
iii | Replacement of Recessed type Ceiling Lights 2'x2' complete in all respect | Nos. | 3 |  | 0
iv | Providing and fixing External light 50W (Same as existing) | Nos. | 1 |  | 0
| Total |  |  |  | 0
9 | Living Room 1
i | Providing and laying roof insulation comprising single layer of first class burnt brick tile 9" x 4.5" x 1.5" laid with 1:6 cements and mortar and grouted with 1:3 cement sand mortar laid over 4 inches (100 mm) thick earth and 1 inch (25mm) thick mud plaster without bhoos aover two coats of hotbitumen @ 34 lbs. per 100 Sq.ft. (1.65Kg/Sq.m) sand blended covered with polythene sheet 300 gauge including curing etc. complete in all respect. | SFT | 456 |  | 0
ii | Providing and fixing 3/8" thick 2'x2' PVC laminated Gypsum board ceiling with back side aluminimium foil ,including framing hanging supports,screws, aluminium tees etc. complete in all respects as shown on the drawings/ as approved by the engineer. | SFT | 456 |  | 0
iii | Supply and install 2 , 3 , 4 , 5 gang, 5 Amp, 250 Volt,. plate type moulded switch including appropriate size plastic box to be fixed recessed in wall. | Nos. | 4 |  | 0
iv | Light circuit concealed/open wiring with length up to 65ft. (20m) from distribution board to point/switch with 3x2.5 Sq.mm PVC insulated single core copper conductor cables for offices/multistoried buildings. a) Concealed wiring with3/4"(20mm) dia. PVC conduit and accessories such as bends, elbows, junction boxes etc. (7.029) | Rft | 140 |  | 0
v | Wiring of 7/052 PVC insulated two core copper conductor cable including 3/4" (20mm) dia. PVC conduit, conductor and wiring accessories such as bends, elbows, junction boxes etc. (7.052) for AC | Rft | 80 |  | 0
vi | Providing and fixing 1.5" (38mm)thick pressed veneered door shutters fully flushed with first class wood veneering on all faces and sides fixed over deodar wood cavited core and frame work of not less than 4" (100mm) wide strips all round with approved brass hinges tower bolts as required and beading 2.5" x 1.5"(Commercial wood) in 3ply, complete in all respect. | Nos. | 1 |  | 0
vii | Providing and fixing Fiber shade for door & Window 42'' wide complete in all respect | Nos. | 4 |  | 0
viii | Ceiling Fans ( Copper, 56'' white) | Nos. | 2 |  | 0
ix | P/F M.S Sliding window 2'-6''X3'-0'' two glass panels with fly mesh etc. | Nos. | 1 |  | 0
| Total |  |  |  | 0
10 | Living Room 2
i | Providing and laying roof insulation comprising single layer of first class burnt brick tile 9" x 4.5" x 1.5" laid with 1:6 cements and mortar and grouted with 1:3 cement sand mortar laid over 4 inches (100 mm) thick earth and 1 inch (25mm) thick mud plaster without bhoos aover two coats of hotbitumen @ 34 lbs. per 100 Sq.ft. (1.65Kg/Sq.m) sand blended covered with polythene sheet 300 gauge including curing etc. complete in all respect. | SFT | 450 |  | 0
ii | Providing and fixing 3/8" thick 2'x2' PVC laminated Gypsum board ceiling with back side aluminimium foil ,including framing hanging supports,screws, aluminium tees etc. complete in all respects as shown on the drawings/ as approved by the engineer. | SFT | 450 |  | 0
iii | Replacement of Electric Board complete in all respect. | Nos. | 4 |  | 0
iv | Light circuit concealed/open wiring with length up to 65ft. (20m) from distribution board to point/switch with 3x2.5 Sq.mm PVC insulated single core copper conductor cables for offices/multistoried buildings. a) Concealed wiring with3/4"(20mm) dia. PVC conduit and accessories such as bends, elbows, junction boxes etc. | Rft | 365 |  | 0
v | Fiber shade for door & Window 42'' wide complete in all respect. | Nos. | 2 |  | 0
vi | New Roof For Bath Room RCC 1:2:4 including Reinfocement,formwork complete in all respects | SFT | 32 |  | 0
vii | Complete Pluming Work (Mixture , WC , Basin , Bib cock) comlete in all respect. | Nos. | 1 |  | 0
viii | Wooden wardrobe | Sft | 100 |  | 0
ix | Concrete Flooring (1:2:4) i/c ballast and surface preparation. Adjacent to the bathroom | cft | 80 |  | 0
x | Ceiling Fans ( Copper, 56'' white) | Nos. | 2 |  | 0
xi | Exhaust Fan (12", copper, round) for living room | Nos. | 1 |  | 0
xii | Exhaust Fan (12", copper, round) for bathroom | Nos. | 2 |  | 0
xii | P/F complete Bathroom acessories | job | 1 |  | 0
xiii | P/F Floor Tiles | Sft | 20 |  | 0
| Total |  |  |  | 0
11 | Reception
i | Wooden Table (4'-7''x2'-6'') having 3 drawer with locks | Nos. | 2 |  | 0
ii | P/F wooden Envelop Box 1'-2''X3'-2'' | Nos. | 1 |  | 0
iii | Partition work of record room | Sft | 126 |  | 0
iv | Supply and install 2 , 3 , 4 , 5 gang, 5 Amp, 250 Volt,. plate type moulded switch including appropriate size plastic box to be fixed recessed in wall. | Nos. | 5 |  | 0
v | Light circuit concealed/open wiring with length up to 65ft. (20m) from distribution board to point/switch with 3x2.5 Sq.mm PVC insulated single core copper conductor cables for offices/multistoried buildings. a) Concealed wiring with3/4"(20mm) dia. PVC conduit and accessories such as bends, elbows, junction boxes etc. | Rft | 100 |  | 0
vi | Ceiling Fans ( Copper, 56'' white) | Nos. | 1 |  | 0
vii | P/F Ceiling light with complete wiring , conduiting etc | Nos. | 1 |  | 0
| Total |  |  |  | 0
| Grand Total |  |  |  | 0
Address: Office # 11-18, Lower basement, Magnum Arcade, Northern strip, Sector E-11/2, Islamabad. (Phone No. 051-2305547)